## Sheet1
Szenario ID	Eval. Energ. Cons.	Eval. Stp. Ch. Magn.	tmxu window	Host	Status	Algorithm	Periode	Agent Size	Agent Variant	Shared Agents	OU Theta	OU Sigma	Discount Factor	lr	Lambda Energy	Lambda MSTPC	Econs in kWh	Clipped Energy Consu.	Log Energy Consu.	Layer Normalization	Critic Weight Regular.	Agent Weight Regular.	OU Sampling Rate	Final Epsilon	ts per hour	Target Update Freq	Reward scale	Reward offset	Reward step offset	Reward activ.	Agents	Controlled Dev.	Opti-mizer	Place	Weather	DDQN Loss	trained episodes	Batch Size	Eplus stor. Mode	Occupancy	Reward	Pretrained Agents	Further Notes	Ziel	Ergebnis
001						DDPG	July		Single		0.30	0.30	0.90	0.0005	0.001000	0.130000	No	No	No	No	0.000000	0.0000000	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Chicago		160	128	No	Default	Sum Energy/MSTPC
002						DDPG	July		Single		0.30	0.05	0.90	0.0005	0.001000	0.130000	No	No	No	No	0.000000	0.0000000	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Chicago		160	128	No	Default	Sum Energy/MSTPC
003						DDPG	July		Multiple		0.30	0.15	0.90	0.0005	0.001000	0.130000	No	No	No	No	0.000000	0.0000000	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Chicago		160	128	No	Default	Sum Energy/MSTPC
004						DDPG	175 Days from 01.01. on		Single		0.30	0.05	0.90	0.0005	0.001000	0.130000	No	No	No	No	0.000000	0.0000000	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Chicago		160	128	No	Default	Sum Energy/MSTPC
005						DDPG	July		Single		0.30	0.15	0.90	0.0005	0.001000	0.130000	No	No	No	No	0.000010	0.0000100	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Chicago		160	128	No	Default	Sum Energy/MSTPC
006						DDPG	January		Single		0.30	0.15	0.93	0.0005	0.001000	0.130000	No	No	No	No	0.000002	0.0000020	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Fairbanks		100	128	No	Default	Sum Energy/MSTPC
007						DDPG	January		Multiple		0.30	0.15	0.93	0.0005	0.001000	0.130000	No	No	No	No	0.000002	0.0000020	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Fairbanks		100	128	No	Default	Sum Energy/MSTPC
008						DDPG	January		Multiple		0.30	0.15	0.93	0.0005	0.001000	0.600000	No	No	No	No	0.000002	0.0000020	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Fairbanks		100	128	No	Default	Sum Energy/MSTPC
009						DDPG	January		Single		0.30	0.15	0.93	0.0005	0.001000	0.600000	No	No	No	No	0.000002	0.0000020	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Fairbanks		100	128	No	Default	Sum Energy/MSTPC
010						DDPG	January		Single		0.30	0.15	0.97	0.0005	0.000000	0.700000	No	No	No	No	0.000001	0.0000010	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Fairbanks		80	128	No	Default	Sum Energy/MSTPC
011						DDPG	January		Single		0.05	0.12	0.97	0.0005			No	No	No	No	0.000001	0.0000010	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Fairbanks		140	128	No	Default	Rulebased Roomtemp
012						DDPG	January		Multiple		0.30	0.15	0.97	0.0005			No	No	No	No	0.000001	0.0000010	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Fairbanks		80	128	No	Default	Rulebased Roomtemp
013						DDPG	January		Single		0.05	0.17	0.97	0.0005			No	No	No	No	0.000001	0.0000010	11		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Fairbanks		140	128	No	Default	Rulebased Roomtemp		As 011, only with other sampling rate for OU Process	Exploding weights
014						DDPG	January	Small	Single		0.05	0.17	0.97	0.0010			No	No	No	No	0.000001	0.0000010	1		12	3	1.000	0.000	0.000			Room Setpoints	Adam	Chicago	Fairbanks		400	128	No	Default	Rulebased Roomtemp			Results went into the right direction, but learnes VERY, VERY slow
015						DDPG	January	Small	Single		0.05	0.20	0.97	0.0010	0.000000	0.700000	No	No	No	No	0.000001	0.0000010	1		12	3	1.000	0.000	0.000			Room Setpoints	Adam	Chicago	Fairbanks		400	128	No	Default	Sum Energy/MSTPC			Nichts neues im Vgl. Zu 014
016					Bad	DDPG	January	Small	Single		0.10	0.20	0.92	0.0010	0.000100	1.000000	No	No	No	No	0.000002	0.0000020	1		1	3	1.000	0.000	0.000			Room Setpoints	Adam	Chicago	Fairbanks		11200	128	No	Default	Rulebased Agent-Output
017					F	DDPG	January	Small	Single		0.45	0.50	0.92	0.0060	0.000100	1.000000	No	No	No	No	0.000002	0.0000020	1		1	3	1.000	0.000	0.000			Room Setpoints	Adam	Chicago	Fairbanks		11200	128	No	Default	Rulebased Agent-Output

020					F	DDPG	January		Multiple		0.05	0.15	0.97	0.0005	0.000000	0.700000	No	No	No	No	0.000001	0.0000010	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Fairbanks		80	128	No	Default	Sum Energy/MSTPC	Yes
021					F	DDPG	January		Multiple		0.05	0.15	0.97	0.0005	0.000000	0.700000	No	No	No	No	0.000001	0.0000010	11		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Fairbanks		80	128	No	Default	Sum Energy/MSTPC	Yes	As 020, only with other sampling rate for OU process
022					F	DDPG	January	Small	Multiple		0.05	0.15	0.97	0.0005	0.000000	0.700000	No	No	No	No	0.000001	0.0000010	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Fairbanks		80	128	No	Default	Sum Energy/MSTPC		Smaller critic network
023					F	DDPG	January	Small	Multiple		0.05	0.15	0.97	0.0050	0.000100	1.000000	No	No	No	No	0.000001	0.0000010	1		12	3	1.000	0.000	0.000			Room Setpoints + VAV Pos.	Adam	Chicago	Fairbanks		240	128	No	Default	Sum Energy/MSTPC		Smaller critic network		Größtenteils nicht das korrekte gelernt, Losskurve geht nicht wirklich nach unten

103					F	DDQN	January	Small	Single				0.91	0.0010	0.000100	1.000000	No	No	No	No		0.0000030		0.05	1	3	1.000	0.000	0.000			Single Room Setpoint	Adam	Chicago	Fairbanks	L2	17200	256	No	Default	Sum Energy/MSTPC		Based on 112		Geht in die richtige Richtung; jedoch mehr Training nötig; stärkere Regularisierung nötig; eventuell eine etwas stärkere Lernrate; kein Loss-Anstieg wie bei 109
104					F	DDQN	January	Small	Single				0.91	0.0150	0.000100	1.000000	No	No	No	No		0.0000060		0.05	1	3	1.000	0.000	0.000			Single Room Setpoint	Adam	Chicago	Fairbanks	L2	27280	256	No	Default	Sum Energy/MSTPC		Based on 103	SOLLTE RICHTIG GUT WERDEN!	Gar nicht!
105					F	DDQN	January		Single		Gibt es nicht bisher!		0.91	0.0010	0.000100	1.000000	No	No	No	No		0.0000030		0.05	1	3	1.000	0.000	0.000			Single Room Setpoint	Adam	Chicago	Fairbanks	L2	17600	256	No	Default	Sum Energy/MSTPC		Based on 103
109					F	DDQN	January		Single, rest RB				0.91	0.0010			No	No	No	No		0.0000030		0.05	1	3	1.000	0.000	0.000			Single Room Setpoint	Adam	Chicago	Fairbanks	L2	9000	256	Yes	Default	Rulebased Agent-Output
110					Eval	DDQN	January		Multiple	Yes			0.90	Decaying			No	No	No	No		0.0000030		0.05	1	2	1.000	0.000	0.000			Single Room Setpoint	Adam	Chicago	Fairbanks	L2	22500	256	Yes	Default	Rulebased Agent-Output
110b					F	DDQN	January		Multiple	Yes			0.90	Decaying			No	No	No	No		0.0000030		0.05	1	2	0.050	0.000	0.000			Single Room Setpoint	Adam	Chicago	Fairbanks	L2	22500	256	Yes	Default	Rulebased Agent-Output
110c					Eval	DDQN	January		Multiple	Yes			0.90	Decaying			No	No	No	No		0.0000030		0.05	1	2	0.000	0.000	0.000		1HiddenBigLayer	Single Room Setpoint	Adam	Chicago	Fairbanks	L2	22500	256	Yes	Default	Rulebased Agent-Output
110d					Eval	DDQN	January		Single, rest RB / Multiple				0.90	Decaying			No	No	No	No		0.0000030		0.05	1	2	0.050	0.000	0.000			Single Room Setpoint	Adam	Chicago	Fairbanks	L2	22500	256	Yes	Default	Rulebased Agent-Output
110e					Eval	DDQN	January		Single, rest RB / Multiple (no further eps decay)				0.90	Decaying			No	No	No	No		0.0000030		0.05	1	2	0.050	0.000	0.000			Single Room Setpoint	Adam	Chicago	Fairbanks	L2	22500	256	Yes	Default	Rulebased Agent-Output
111					F	DDQN	January		Single				0.91	0.0030			No	No	No	No		0.0000040		0.05	1	6	1.000	0.000	0.000	cubic	1HiddenBigLayer,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	18480	256	Yes	Default	Rulebased Agent-Output		Based on 110
112					F	DDQN	January	Small	Single				0.91	0.0030			No	No	No	No		0.0000020		0.05	1	6	0.250	0.000	0.000	quadr.		Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	24640	128	Yes	Default	Rulebased Agent-Output		Based on 110
113					F	DDQN	January	Small	Single				0.80	0.0001			No	No	No	No		0.0000020		0.05	1	3	1.000	0.000	0.000		1HiddenBigLayer,ELU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	24640	256	Yes	Default	Rulebased Agent-Output		Based on 112		War nichts, immer divergiert
114					F	DDQN	January	Small	Single				0.80	0.0100			No	No	No	No		0.0000040		0.05	1	9	0.500	0.100	0.000	cubic	1HiddenBigLayer,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	24640	512	Yes	Default	Rulebased Agent-Output		Based on 112
115					F	DDQN	January	Small	Single				0.80	0.0100			No	No	No	No		0.0000040		0.05	1	9	0.500	0.100	0.000	cubic	1HiddenBigLayer,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	24640	512	Yes	Default	Rulebased Agent-Output		Based on 114	Der Agent sollte nicht nur den Durchschnittssetpoint lernen, sondern diesen tatsächlich passend ändern	Läuft nicht so	DIE Q FUNKTION MUSS BESSER KONVERGIEREN!
116					F	DDQN	January	Small	Single				0.80	0.0100			No	No	No	No		0.0000010		0.05	1	7	0.050	0.250	0.000	quadr.	1HiddenBigLayer,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	24640	512	Yes	Default	Rulebased Agent-Output		Based on 114	Wie 115; nur mit reward, der meistens in [-1, 0.5] liegt	Läuft nicht so	DIE Q FUNKTION MUSS BESSER KONVERGIEREN!
117					F	DDQN	January		Single				0.70	0.0100			No	No	No	No		0.0000015		0.05	1	6	0.125	0.200	0.000	quadr.		Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	30800	256	Yes	Default	Rulebased Agent-Output		Based on 112		Läuft nicht so	DIE Q FUNKTION MUSS BESSER KONVERGIEREN!
118					F	DDQN	January		Single				0.70	0.0100			No	No	No	No		0.0000015		0.05	1	6	0.125	0.200	0.000	quadr.	2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	30800	256	Yes	Default	Rulebased Agent-Output		Like 117, only changed Network		Läuft nicht so	DIE Q FUNKTION MUSS BESSER KONVERGIEREN!
121					F	DDQN	January		Multiple	Yes			0.50	0.0150	0.000050	0.000000	No	No	No	No		0.0000005		0.05	1	6	0.130	0.325	0.000			Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	25520	512	No	Default	Sum Energy/MSTPC		Changed reward!; Based on 114, reward function changed, better building	Ziel sollte sein: dauernd auf minimalen Wert, denn es wird nur der Energieverbrauch beruecksichtigt	Ziel nicht erreicht, da Regulaisierung viel, viel zu stark
122					F	DDQN	January		Multiple	Yes			0.80	0.0200	0.000050	0.000000	No	No	No	No		0.0000005		0.05	1	6	0.210	0.750	0.000			Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	20240	256	No	Default	Sum Energy/MSTPC			Sollte besser werden als 121, vor allem das Ziel dort erreichen
131					F	DDQN	January	Small	Single				0.70	0.0050			No	No	No	No		0.0000005		0.05	1	9	0.250	0.500	1.000		1HiddenBigLayer,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	22000	512	Yes	Default	Rulebased Agent-Output		Based on 115		Gut, aber 1 Layer ist wenig, wie die Q-Auswertung zeigt
132					F	DDQN	January	Small	Single				0.80	0.0020			No	No	No	No		0.0000010		0.05	1	4	0.250	0.500	2.000		1HiddenBigLayer,SiLU	Single Room Setpoint	RMS	C., Higher Setpoints	Fairbanks	L2	24640	256	Yes	Default	Rulebased Agent-Output		Based on 116		Gut, aber 1 Layer ist wenig, wie die Q-Auswertung zeigt
133					F	DDQN	January		Single				0.70	0.0200			No	No	No	No		0.0000005		0.05	1	1	0.200	0.300	1.500		Other	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	30800	256	Yes	Default	Rulebased Agent-Output		Based on 117		Sehr gut
134					F	DDQN	January		Single				0.25	0.0050			No	No	No	No		0.0000003		0.05	1	6	0.100	0.050	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	30800	256	Yes	Default	Rulebased Agent-Output		Based on 118		Noch ein wenig besser als 131-133
135					F	DDQN	January		Single				0.75	0.0200			No	No	No	No		0.0000005		0.05	1	4	0.100	0.050	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	15840	256	Yes	Default	Rulebased Agent-Output		Based on 134	Shorten training time, while obtaining the same results
136					F	DDQN	January		Single				0.75	0.0300			No	No	No	No		0.0000005		0.05	1	4	0.100	0.050	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	15840	512	Yes	Default	Rulebased Agent-Output		Based on 134	Does a different Batch Size change anything?
141					F	DDQN	January		Multiple	Yes			0.75	0.0500	0.000010	0.200000	No	No	No	No		0.0000005		0.05	1	4	1.000	0.100	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	9680	512	Yes	Default	Rulebased Agent-Output		Based on 136		Zu kurz trainiert
142					F	DDQN	January		Multiple	Yes			0.75	0.0300	0.000010	0.200000	No	No	No	No		0.0000010		0.05	1	4	1.000	0.100	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	9680	512	Yes	Default	Rulebased Agent-Output		Based on 136		Zu kurz trainiert
145					F	DDQN	January		Multiple	Yes			0.75	0.0200	0.000010	0.200000	No	No	No	No		0.0000010		0.05	1	6	1.000	0.100	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	31500	256	No	Default	Sum Energy/MSTPC		Based on 136
146					F	DDQN	January		Multiple	Yes			0.85	Decaying	0.000005	0.100000	No	No	No	No		0.0000010		0.05	1	6	1.000	0.050	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	33600	256	No	Default	Sum Energy/MSTPC		= 145, nur ts_until_reg = 0, OCC corrected		Q-Values sind unscharf, aber sehr gute Parameterauswahl!
146_contd					F	Frage: Werden die Q-Values schärfer?									0.000005	0.100000	No	No	No	No		0.0000010		0.05	1	6	1.000	0.000	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2			No	Default	Sum Energy/MSTPC
147	45975	829			F	Wie 146, nur längeres Training							0.85	Decaying	0.000005	0.100000	No	No	No	No		0.0000010		0.05	1	6	1.000	0.000	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	88000		No	Default	Sum Energy/MSTPC
148					F	Wie 146, nur längeres Training und LeakyReLU							0.85	Decaying	0.000005	0.100000	No	No	No	No		0.0000010		0.05	1	6	1.000	0.000	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	88000		No	Default	Sum Energy/MSTPC
149	50910	898			F	DDQN	January		Multiple	Yes/No			0.85	Decaying	0.000005	0.100000	No	No	No	No		0.0000010		0.05	1	6	1.000	0.000	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	100800		No	Default	Sum Energy/MSTPC		Training wie 147, nur am Ende mit individual multiple agents (also keinem shared network mehr)
150	51600	439			F	DDQN	January		Multiple	Yes/No			0.85	Decaying	0.000003	0.150000	No	No	No	No		0.0000010		0.05	1						2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	100800		No	Default	Sum Energy/MSTPC		Wie 149, nur anderes Lambda		Bestes bisher
151					F	Wurde schonmal trainiert							0.85	Decaying	0.000005	0.100000	No	No	No	No		0.0000010		0.05	1	6	1.000	0.000	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2			No	Default	Rulebased Agent-Output				Q-Werte sind im Multi-Agenten-Ansatz deutlich verwaschener als im normalen Ansatz
152					F	DDQN	January						0.85		0.000005	0.100000	No	No	No	No		0.0000010		0.05	1	6	1.000	0.000	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2			No	Default	Rulebased Agent-Output
160					F	DDQN	January		Multiple Single-RL				0.90		0.000005	0.100000	No	No	No	No		0.0000010		0.05	1	6	1.000	0.000	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	21600		No	Default	Sum Energy/MSTPC
160-ln					F	DDQN	January						0.90		0.000005	0.100000	No	No	No	Yes		0.0000010		0.05	1	6	1.000	0.000	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	16000		No	Default	Sum Energy/MSTPC
160-ln-fast					F	DDQN	January						0.90		0.000005	0.100000	No	No	No	Yes		0.0000010		0.05	1	6	1.000	0.000	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	6400		No	Default	Sum Energy/MSTPC
161	40566	563			F	DDQN	January	Viewer Q-Values	Multiple Single-RL				0.90	Decaying	0.050000	0.100000	Yes	No	Yes	Yes		0.0000010		0.05	1	6	1.000	0.300	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	21600	256	No	Default	Sum Energy/MSTPC
161-longer					F	DDQN	January	Viewer Q-Values	Multiple Single-RL				0.90	Decaying	0.050000	0.100000	Yes	No	Yes	Yes		0.0000010		0.05	1	6	1.000	0.300	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	56000	256	No	Default	Sum Energy/MSTPC				Hat nichts gebracht im Vergleich zu 161, also führt längeres Training nicht automatisch zu besseren Ergebnissen
162	45627	700	6-0	4e1	Eval	DDQN	January	Viewer Q-Values	Multiple Single-RL, 3 not 5				0.90	Decaying	0.050000	0.100000	Yes	No	Yes	Yes		0.0000010		0.05	1	4	1.000	0.300	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	17600	256	No	Default	Sum Energy/MSTPC			Da ein anderer Raum (SPACE3) gewählt ist, und dieser sich besser von der Raumtemperatur an die Solltemperatur hält, sollte dies einen Vorteil bringen
163	41062	547			Eval	DDQN	January	Viewer Q-Values	Multiple Single-RL, 3 not 5				0.90	Decaying	0.130000	0.100000	Yes	No	Yes	Yes		0.0000010	lin. Eps. Dec	0.05	1	3	1.000	0.300	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	17600	256	No	Default	Sum Energy/MSTPC		Lin. Epsilon decay		Auch sehr gut, ähnlich wie 150
163-longer	40485	552			F	DDQN	January	Viewer Q-Values	Multiple Single-RL, 3 not 5				0.90	Decaying	0.130000	0.100000	Yes	No	Yes	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	19200	256	No	Default	Sum Energy/MSTPC		Lin. Epsilon decay
164	46092	924			Stop	DDQN	January	Viewer Q-Values	Multiple Single-RL / Multiple Dual-RL / Multiple				0.80	Decaying, high start	0.130000	0.100000	Yes	No	Yes	Yes		0.0000010	lin. Eps. Dec	0.05	1	3	1.000	0.500	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	50400	Increasing	No	Default	Sum Energy/MSTPC		Lin. Epsilon decay
165					F	DDQN	January	Viewer Q-Values	Multiple Single-RL / Multiple Dual-RL				0.90	Decaying	0.050000	0.100000	Yes	No	Yes	Yes		0.0000010		0.05	1	6	1.000	0.300	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	26400	Increasing	No	Default	Sum Energy/MSTPC
166	39930	483			F	DDQN	January	Viewer Q-Values	Multiple Single-RL, 3 not 5				0.90	Decaying	0.130000	0.100000	Yes	No	Yes	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	24480	256	No	Default	Sum Energy/MSTPC		Lin. Epsilon decay		Layer normalization has some positive effects
167	41584	583			F	DDQN	January	Viewer Q-Values	Multiple Single-RL, 3 not 5				0.90	Decaying	0.130000	0.100000	Yes	No	Yes	No		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	24480	256	No	Default	Sum Energy/MSTPC		Lin. Epsilon decay
170					F	DDQN	January	BIG	Single				0.70	Decaying	0.000003	0.150000	No	No	No	No		0.0000010		0.05	1	6	1.000	0.000	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	105600	256	No	Default	Sum Energy/MSTPC
180					F	DDQN	January-June	Viewer Q-Values	Multiple Single-RL, 3 not 5				0.90	Decaying	0.100000	0.200000	Yes	No	Yes	No		0.0000010		0.05	1	3	1.000	0.000	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	5050	Increasing	No	Default	Sum Energy/MSTPC

301	39034	488			F	DDQN	January	Viewer Q-Values	Multiple Single-RL, 2 not 5				0.90	Decaying	0.006000	0.100000	Yes		No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	0.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	24480	256	No	Default	Sum Energy/MSTPC		Based on 166
301-faster	38535	508			Eval	DDQN	January	Viewer Q-Values	Multiple Single-RL, 2 not 5				0.90	Decaying	0.006000	0.100000	Yes	150.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	1.000		2HiddenLayer,Trapezium,SiLU	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	16000	256	No	Default	Sum Energy/MSTPC		Based on 166
302	39257	278			Eval	DDQN	January	Viewer Q-Values	Multiple Single-RL, 2 not 5				0.90	Decaying	0.017000	0.160000	Yes	150.00	No	No		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	16000	256	No	Default	Sum Energy/MSTPC		Based on 166		MSTPC besser als Baseline!
302-ln	37949	304			Eval	DDQN	January	Viewer Q-Values	Multiple Single-RL, 2 not 5				0.90	Decaying	0.017000	0.160000	Yes	150.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	16000	256	No	Default	Sum Energy/MSTPC		Based on 166
302-longer	38513	527			F	DDQN	January	Viewer Q-Values	Multiple Single-RL, 2 not 5				0.90	Decaying	0.017000	0.160000	Yes	150.00	No	No		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	29600	256	No	Default	Sum Energy/MSTPC		Based on 166
303					Eval	DDQN	January	Viewer Q-Values	Multiple Single-RL, 2 not 5				0.90	Decaying	0.180000	0.120000	Yes	35.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.000	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L1	16000	256	No	Default	Sum eMean/eDiff/MSTPC		Based on 302
303-npar					F	DDQN	January	Viewer Q-Values	Multiple Single-RL, 2 not 5				0.90	Decaying	0.070000	0.120000	Yes	35.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.000	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L1	16000	256	No	Default	Sum eMean/eDiff/MSTPC		Based on 302
304					F	DDQN	January	Viewer Q-Values	Multiple Single-RL, 2 not 5				0.90	Decaying	0.017000	0.160000	Yes	150.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L1	16000	256	No	Default	Sum Energy/MSTPC		Based on 302
305	38216	373			F	DDQN	January	Viewer Q-Values	Multiple Single-RL, 2 not 5				0.90	Decaying	0.017000	0.080000	Yes	150.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	16000	256	No	Default	Sum Energy/MSTPC		Based on 302-ln	Energy Consumption should be lower than for 302-ln, but thermal comfrot should not be reduced
306					Eval	DDQN	January	Viewer Q-Values	Broadcast Single-RL / Multiple RL	Yes			0.90	Decaying	0.004000	0.030000	Yes		No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	0.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	16000	256	No	Default	Sum Energy/MSTPC		Based on 302-ln
306-onlyA	34019	1478			F	DDQN	January	Viewer Q-Values	Broadcast Single-RL / Multiple RL	Yes			0.90	Decaying	0.017000	0.160000	Yes	150.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	16000	256	No	Default	Sum Energy/MSTPC		Based on 302-ln
307					F	DDQN	January	Viewer Q-Values	Multiple Single-RL, 2 not 5 / All Rooms (merged) / All Rooms	Yes/No			0.90	Decaying	0.017000	0.120000	Yes	150.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	33750	256	No	Default	Sum Energy/MSTPC		Based on 302-ln
307-v2					Eval	DDQN	January	Viewer Q-Values	Multiple Single-RL, 2 not 5 / All Rooms (merged) / All Rooms	Yes			0.90	Decaying	0.004000	0.030000	Yes		No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	0.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	33750	256	No	Default	Sum Energy/MSTPC		Based on 302-ln
308					F	DDQN	January	Viewer Q-Values	Multiple Single-RL, 2 not 5				0.90	Decaying	0.017000	0.080000	Yes	150.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	16000	256	No	Default	Sum Energy/MSTPC		Based on 305	In the end, the band width of MSTPC should get smaller
309					F	DDQN (new)	January	Viewer Q-Values	Multiple Single-RL, 2 not 5				0.90	Decaying	0.017000	0.160000	Yes	150.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	16000	256	No	Default	Sum Energy/MSTPC		Based on 302-ln
309-fast					F	DDQN (new)	January	Viewer Q-Values	Multiple Single-RL, 2 not 5				0.90	Decaying	0.017000	0.160000	Yes	150.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.300	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	16000	256	No	Default	Sum Energy/MSTPC		Based on 302-ln
310					Eval	DDQN (new)	January	Viewer Q-Values	Multiple Single-RL, 2 not 5 / All Rooms (merged) / All Rooms	Yes		Soft Clip	0.90	Decaying	0.008000	0.060000	Yes	150.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.150	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	37500	256	No	Default	Sum Energy/MSTPC		Based on 307, lambda / 2
311					Eval	DDQN (new)	January	Viewer Q-Values	Multiple Single-RL, 2 not 5 / All Rooms (merged) / All Rooms	Yes		Soft Clip	0.90	Decaying	0.008000	0.060000	Yes	150.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.150	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	37500	256	No	Default	Sum Energy/MSTPC		As 310, but epsilon decay after switch to mulitple agents
312					Eval	DDQN (new)	January	Viewer Q-Values	Broadcast Single-RL / Multiple RL (shared) / Mulitple (indiv.)	Yes		Soft Clip	0.90	Decaying	0.008000	0.060000	Yes	150.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.150	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	37500	256	No	Default	Sum Energy/MSTPC		Based on 310
313			7-1	3b3	Run	DDQN (new)	January	Viewer Q-Values	Broadcast Single-RL / Multiple RL (shared) / Mulitple (indiv.)	Yes		Soft Clip	0.90	Decaying	0.008000	0.060000	Yes	150.00	No	Yes		0.0000010	lin. Eps. Dec	0.05	1	2	1.000	0.150	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	37500	256	No	Default	Sum Energy/MSTPC		Based on 311
314			7-0	3c0	Run	DDQN (new)	January	Viewer Q-Values	Multiple RL (shared)	Yes		Soft Clip	0.90	Decaying	0.008000	0.060000	Yes	150.00	No	Yes		0.0000010		0.05	1	2	1.000	0.150	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	37500	256	No	Default	Sum Energy/MSTPC		Based on 311
314-no-sh			8-0	3c2	Run	DDQN (new)	January	Viewer Q-Values	Multiple RL	No		Soft Clip	0.90	Decaying	0.008000	0.060000	Yes	No	No	Yes		0.0000010		0.05	1	2	1.000	0.150	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	37500	256	No	Default	Sum Energy/MSTPC		Based on 311
320					F	DDQN	January	Viewer Q-Values	Multiple Single-RL (one_but2not5)				0.90	Decaying	0.008000	0.060000	Yes	No	No	Yes		0.0000010		0.05	1	2	1.000	0.300	0.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	21600	256	No	Default	Sum Energy/MSTPC		Based on 161
321			7-2	3b0	Run	DDQN	January	Viewer Q-Values	Multiple Single-RL (one_but2not5)			Soft Clip	0.90	Decaying	0.008000	0.060000	Yes	150.00	No	Yes		0.0000010		0.05	1	2	1.000	0.300	0.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	21600	256	No	Default	Sum Energy/MSTPC		Based in 320
322					F	DDQN	January	Viewer Q-Values	Multiple Single-RL (one_but2not5)				0.90	Decaying	0.008000	0.060000	Yes	No	No	No		0.0000010		0.05	1	2	1.000	0.300	0.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	21600	256	No	Default	Sum Energy/MSTPC		Based in 320
323					F	DDQN	January	Viewer Q-Values	Multiple Single-RL (one_but2not5)				0.97	Decaying	0.004000	0.030000	Yes	No	No	Yes		0.0000010		0.05	1	2	1.000	0.300	0.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	21600	256	No	Default	Sum Energy/MSTPC		Based in 320
330					Eval	DDQN	January	Viewer Q-Values	Multiple Single-RL (one_but2not5)				0.90	Decaying	0.008000	0.073000	Yes	No	No	Yes		0.0000010		0.05	1	2	1.000	0.000	0.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	12800	256	No	Default	Sum Energy/MSTPC		Based in 320	Reward parameters as proposed by niklas
331					Eval	DDQN	January	FULL	Multiple Single-RL (one_but2not5)				0.90	Decaying	0.008000	0.073000	Yes	No	No	Yes		0.0000010		0.05	1	2	1.000	0.000	0.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks	L2	12800	256	No	Default	Sum Energy/MSTPC		Based on 330	Reward parameters as proposed by niklas

201					F	DDPG	January		Multiple Single-RL		0.10	0.30	0.85	Decaying	0.000005	0.100000				Yes	0.000002			0.05	1	6	1.000	0.000	1.000		2HiddenLayer,Trapezium	Single Room Setpoint	Adam	C., Higher Setpoints	Fairbanks		16000	256	No	Default	Sum Energy/MSTPC				(vermutlich) Initialisierungsproblem!

B001	38042.14	427			F		January		No RL						0.000010	0.200000									1		1.000	0.000	0.000			Room Setpoints + VAV Pos.		Chicago	Fairbanks		No Train		No	Default	Sum Energy/MSTPC		Baseline Baseline
B002					F		January		No RL						0.000100	0.200000									12		1.000	0.000	0.000			Room Setpoints + VAV Pos.		Chicago	Fairbanks		No Train		No	Default	Sum Energy/MSTPC		B001, but with 12 actions per hour
B003					F		January		No RL						0.000010	0.200000									1		1.000	0.000	0.000			Room Setpoints + VAV Pos.		Chicago	Fairbanks		No Train		No	Default	Sum Energy/MSTPC		B001, with higher setpoint (+1deg)
B004					F		January		No RL						0.000010	0.200000									1		1.000	0.000	0.000			Room Setpoints + VAV Pos.		Chicago	Fairbanks		No Train		No	Default	Sum Energy/MSTPC		B001, but high setpoint all the time
B011					W		July		No RL						???	???									12		1.000	0.000	0.000			Room Setpoints + VAV Pos.		Chicago	Chicago		No Train		No	Default	Sum Energy/MSTPC
B012					W		July		No RL						???	???									12		1.000	0.000	0.000			Room Setpoints + VAV Pos.		Chicago	Chicago		No Train		No	Default	Sum Energy/MSTPC		Other setpoints